## Hmi Tags
Name | Path | Connection | PLC tag | DataType | Length | Coding | Access Method | Address | Indirect addressing | Index tag | Start value | ID tag | Comment [de-DE] | Acquisition mode | Acquisition cycle | Limit Upper 2 Type | Limit Upper 2 | Limit Lower 2 Type | Limit Lower 2 | Linear scaling | End value PLC | Start value PLC | End value HMI | Start value HMI
Variable_Bildnummer | Standard-Variablentabelle | <No Value> | <No Value> | UInt | 2 | Binary | <No Value> | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Global-DB_Vorlauftemperatur | Standard-Variablentabelle | HMI_Verbindung_1 | "Global-DB".Vorlauftemperatur | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Global-DB_Rücklauftemperatur | Standard-Variablentabelle | HMI_Verbindung_1 | "Global-DB".Rücklauftemperatur | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Auto_DB_static_Max | Standard-Variablentabelle | HMI_Verbindung_1 | Auto_DB.static_Max | Real | 4 | IEEE754 | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hand_DB_static_Vent2Soll% | Standard-Variablentabelle | HMI_Verbindung_1 | Hand_DB.static_Vent2Soll% | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Ventilator 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Ventilator 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 4 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 4" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 3 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 3" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 2 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 2" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Pumpe 1 | Standard-Variablentabelle | HMI_Verbindung_1 | "Pumpe 1" | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Global-DB_Auto | Standard-Variablentabelle | HMI_Verbindung_1 | "Global-DB".Auto | Bool | 1 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0
Hand_DB_static_Vent1Soll% | Standard-Variablentabelle | HMI_Verbindung_1 | Hand_DB.static_Vent1Soll% | Int | 2 | Binary | Symbolic access | <No Value> | False | <No Value> | <No Value> | 0 | <No Value> | Cyclic in operation | 1 s | None | <No Value> | None | <No Value> | False | 10 | 0 | 100 | 0

## Multiplexing
HMI Tag name | Multiplex Tag | Index